POLICY

It is the policy of the Facility Name to label the control values for the partial or complete emergency shutdown of the utility systems.  The location of controls for shutdown will be clearly identified on plans of the utility systems and in the area of the control within the facility.

PROCEDURE

- The location of controls for partial or complete shutdown in case of an emergency will be identified on the plans for the utility system.

- These plans of the utility system will be located in the Location.  Labeling of circuit breakers will be located in each circuit breaker panel

- Utility Systems include, but are not limited to:

  - Steam

  - Hot Water

  - Water Distribution/Plumbing System

  - HVAC System

  - Communication System

  - Electrical Distribution System including all circuit breakers

  - Emergency Electrical Power System

  - Elevators and Vertical Lifts

  - Fire Alarm System

  - Medical Gas Delivery System

  - Medical Air System

  - Vacuum System

- The location of the control valve will be clearly identified as required with sign or placard.

- The specific area served by the utility system will be clearly identified by individual location.

- When a utility system must be shutdown, notify Administration, Director of Nursing and the department directors of each affected department.