## ASHE Energy to Care
Energy to Care Benefits Calculator Tool
SELECT INPUTS
Select either bed capacity OR | 0
Floor area (ft2) of your hospital | 0
Select your state | Alabama
Enter hospital's annual energy costs ($)
ASHE Chapter | Region4
*A result of #N/A below means there is no equivanet sized hospital in the ASHE program in your same region. You might be able to generate comparable results by inputing a larger or smaller sized hospital or selecting a state in a neigboring region. Air pollution and health care cost data are not available for Alaska and Hawaii.
% reduction in EUI of | #N/A
Energystar Score | #N/A
Site energy use | #N/A | kBtu
Electric use savings (kWh) | #N/A | kWh
Gas use savings (Therms) | 0 | Therms
BY PARTICIPATING IN THE ASHE ENERGY TO CARE PROGRAM WE COULD…..
Reduce our hospital's annual energy consumption | #N/A
Reduce our hospital’s annual operating costs | #N/A | $ per year
Reduce our hospital's operating costs over 10 years | #N/A | $
Reduce fine particulate pollution | #N/A | lbs per year
Reduce nitrogen oxide pollution | #N/A | lbs per year
Reduce greenhouse gas emissions | #N/A | lbs per year
The pollution avoided would reduce health care costs | #N/A | $ per year
Reduce coal dependancy. In our region coal generates | 22% | of our electricity
Remain competative. Another hospital in our region participating in ASHE's program reduced their EUI | 7.663%
Reduce our energy use intensity (EUI) | #N/A
Achieve an ENERGY STAR Score of | #N/A
Limit our energy use to | #N/A | kBtu
Achieve electricity savings | #N/A | kWh
Reduce gas consumption | 0 | Therms
Help to reduce health care costs | 105.54 | $ per person

## Talking Points (hidden)
| % of Coal Mix (EIA 2017) | PM2.5 (lb/MWh) | Nox (lb/MWh) | CO2 (lbs/MWh) | Region | cents/kwh | $/capita health benefits | Natural Gas Emission Factors
Alabama | 0.22 | 0.1 | 0.91 | 1502 | SE | 4.02 | 105.54 | We used EPA emission factors for small controlled low Nox burners
Alaska | 0.09 | NA | NA | NA |  |  | NA | Nox (lb/10x6 scf) | 50
Arizona | 0.3 | 0.07 | 0.96 | 1317 | SW | 1.62 | 8.59 | CO2(lb/10 x 6 scf) | 120000
Arkansas | 0.43 | 0.1 | 0.91 | 1502 | SE | 4.02 | 98.39 | PM (lb/10x6 scf) | 7.6
California | 0 | 0.05 | 0.33 | 1087 | CA | 1.08 | 4.48 | https://www3.epa.gov/ttnchie1/ap42/ch01/final/c01s04.pdf
Colorado | 0.54 | 0.04 | 1.37 | 1672 | RM | 2.32 | 16.56
Connecticut | 0.01 | 0.04 | 0.42 | 1114 | NE | 3.73 | 75.04 | Convert to therms
Delaware | 0.05 | 0.21 | 0.97 | 1675 | GL | 7.95 | 103.42 | Nox (lb/therm) | 4.8216e-05
District of Columbia | NA | 0.21 | 0.97 | 1675 | GL | 7.95 | 63.3 | CO2 (lb/therm) | 0.11572
Florida | 0.16 | 0.1 | 0.91 | 1502 | SE | 4.02 | 42.71 | PM (lb/therm) | 7.3288e-06
Georgia | 0.25 | 0.1 | 0.91 | 1502 | SE | 4.02 | 57.41
Hawaii | 0.14 | NA | NA | NA |  |  | NA
Idaho | 0 | 0.08 | 1.25 | 1635 | NW | 2.55 | 8.05
Illinois | 0.32 | 0.1 | 1.35 | 1965 | UM | 7.06 | 86.87
Indiana | 0.73 | 0.21 | 0.97 | 1675 | GL | 7.95 | 128.42
Iowa | 0.44 | 0.1 | 1.35 | 1965 | UM | 7.06 | 79.6
Kansas | 0.38 | 0.1 | 1.18 | 1813 | LM | 5.23 | 52.73
Kentucky | 0.78 | 0.1 | 0.91 | 1502 | SE | 4.02 | 147.77
Louisiana | 0.13 | 0.1 | 0.91 | 1502 | SE | 4.02 | 70.87
Maine | 0.01 | 0.04 | 0.42 | 1114 | NE | 3.73 | 57.95
Maryland | 0.25 | 0.21 | 0.97 | 1675 | GL | 7.95 | 86.54
Massachusetts | 0.04 | 0.04 | 0.42 | 1114 | NE | 3.73 | 47.4
Michigan | 0.37 | 0.21 | 0.97 | 1675 | GL | 7.95 | 104.8
Minnesota | 0.39 | 0.1 | 1.35 | 1965 | UM | 7.06 | 25.54
Mississippi | 0.08 | 0.1 | 0.91 | 1502 | SE | 4.02 | 88.88
Missouri | 0.8 | 0.1 | 1.35 | 1965 | UM | 7.06 | 89.18
Montana | 0.49 | 0.08 | 1.25 | 1635 | NW | 2.55 | 17.53
Nebraska | 0.6 | 0.1 | 1.35 | 1965 | UM | 7.06 | 47.38
Nevada | 0.05 | 0.07 | 0.96 | 1317 | SW | 1.62 | 9.22
New Hampshire | 0.02 | 0.04 | 0.42 | 1114 | NE | 3.73 | 60.17
New Jersey | 0.02 | 0.21 | 0.97 | 1675 | GL | 7.95 | 79.82
New Mexico | 0.55 | 0.07 | 0.96 | 1317 | SW | 1.62 | 16.75
New York | 0.01 | 0.04 | 0.42 | 1114 | NE | 3.73 | 83.97
North Carolina | 0.27 | 0.1 | 0.91 | 1502 | SE | 4.02 | 76.6
North Dakota | 0.64 | 0.1 | 1.35 | 1965 | UM | 7.06 | 24.25
Ohio | 0.57 | 0.21 | 0.97 | 1675 | GL | 7.95 | 137.24
Oklahoma | 0.24 | 0.1 | 1.18 | 1813 | LM | 5.23 | 67.02
Oregon | 0.03 | 0.08 | 1.25 | 1635 | NW | 2.55 | 5.71
Pennsylvania | 0.22 | 0.21 | 0.97 | 1675 | GL | 7.95 | 139.87
Rhode Island | 0 | 0.04 | 0.42 | 1114 | NE | 3.73 | 72.48
South Carolina | 0.2 | 0.1 | 0.91 | 1502 | SE | 4.02 | 78.68
South Dakota | 0.19 | 0.1 | 1.35 | 1965 | UM | 7.06 | 41.25
Tennessee | 0.35 | 0.1 | 0.91 | 1502 | SE | 4.02 | 123.86
Texas | 0.3 | 0.08 | 0.65 | 1387 | TX | 3.58 | 38.67
Utah | 0.71 | 0.08 | 1.25 | 1635 | NW | 2.55 | 7.58
Vermont | 0 | 0.04 | 0.42 | 1114 | NE | 3.73 | 79.37
Virgina | 0.12 | 0.1 | 0.91 | 1502 | SE | 4.02 | 89.13
Washington | 0.05 | 0.08 | 1.25 | 1635 | NW | 2.55 | 6.86
West Virginia | 0.93 | 0.21 | 0.97 | 1675 | GL | 7.95 | 184.11
Wisconsin | 0.55 | 0.1 | 1.35 | 1965 | UM | 7.06 | 69.84
Wyoming | 0.86 | 0.08 | 1.25 | 1635 | NW | 2.55 | 24.34
Note on F1: Sara: We used EPA's AVERT-based 2017 regional grid emission rates. Some states are split across regions. We used whatever was the greatest %. For HI and AK we used Egrid baseload averages.
Note on G1: Sara: We used high estimate at 3% discount rate from EPA Bpk internal fact sheet. Comes from and EPA AVERT + COBRA analysis.
Note on H1: Sara: from Saving Energy Saving Lives

## Key (hidden)
Hospital Bed Capacity | 0 | BedA |  | Reduction in EUI (kBtu/ft²) | ENERGY STAR Score | Site energy use (kBtu) | Electric use savings (kWh) | Gas use savings (therms)
Area of the hospital | 0 | #VALUE!
State | ='Input sheet '!D6 |  | hospital #1 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  |  | hospital #2 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
ASHE Chapter | Region4 |  | hospital #3 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Check - if Region 10 with no winners, borrow from Region 9 | Region4 |  | hospital #4 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Combined Key | #VALUE! |  | hospital #5 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  |  | hospital #6 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  |  | hospital #7 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  |  | hospital #8 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  |  | hospital #9 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  |  | hospital #10 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  |  | hospital #11 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  |  | hospital #12 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  |  | hospital #13 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  |  | hospital #14 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  |  | hospital #15 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  |  | hospital #16 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  |  | hospital #17 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  |  | hospital #18 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  |  | hospital #19 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  |  | hospital #20 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  |  |  | #N/A | #N/A | #N/A | #N/A | #N/A
# reference tables fr vlookup
| Table 1 |  | Table 2 |  |  | Table 3 |  |  | ASHE chapter regions
| VALUE | KEY | VALUE | KEY |  | Value | Key
| 0 | BedA | 1 | AreaA |  | Maine | Region1 |  | Maine
| 100 | BedB | 50000 | AreaB |  | Connecticut | Region1 |  | Connecticut
| 300 | BedC | 150000 | AreaC |  | Massachusetts | Region1 |  | Massachusetts
| 500 | BedD | 300000 | AreaD |  | New Hampshire | Region1 |  | New Hampshire
|  |  | 500000 | AreaE |  | New Jersey | Region1 |  | New Jersey
|  |  | 1000000 | AreaF |  | New York | Region1 |  | New York
[6 empty] | Rhode Island | Region1 |  | Rhode Island
[6 empty] | Vermont | Region1 |  | Vermont
[6 empty] | Delaware | Region2 |  | Delaware
[6 empty] | District of Columbia | Region2 |  | District of Columbia
[6 empty] | Maryland | Region2 |  | Maryland
[6 empty] | Pennsylvania | Region2 |  | Pennsylvania
[6 empty] | Kentucky | Region3 |  | Kentucky
[6 empty] | North Carolina | Region3 |  | North Carolina
[6 empty] | South Carolina | Region3 |  | South Carolina
[6 empty] | Tennessee | Region3 |  | Tennessee
[6 empty] | Virgina | Region3 |  | Virginia
[6 empty] | West Virginia | Region3 |  | West Virginia
[6 empty] | Alabama | Region4 |  | Alabama
[6 empty] | Florida | Region4 |  | Florida
[6 empty] | Georgia | Region4 |  | Georgia
[6 empty] | Mississippi | Region4 |  | Mississippi
[6 empty] | Illinois | Region5 |  | Illinois
[6 empty] | Indiana | Region5 |  | Indiana
[6 empty] | Michigan | Region5 |  | Michigan
[6 empty] | Ohio | Region5 |  | Ohio
[6 empty] | Iowa | Region6 |  | Iowa
[6 empty] | Minnesota | Region6 |  | Minnesota
[6 empty] | North Dakota | Region6 |  | North Dakota
[6 empty] | South Dakota | Region6 |  | South Dakota
[6 empty] | Wisconsin | Region6 |  | Wisconsin
[6 empty] | Arkansas | Region7 |  | Arkansas
[6 empty] | Louisiana | Region7 |  | Louisiana
[6 empty] | New Mexico | Region7 |  | New Mexico
[6 empty] | Oklahoma | Region7 |  | Oklahoma
[6 empty] | Texas | Region7 |  | Texas
[6 empty] | Colorado | Region8 |  | Colorado
[6 empty] | Kansas | Region8 |  | Kansas
[6 empty] | Missouri | Region8 |  | Missouri
[6 empty] | Nebraska | Region8 |  | Nebraska
[6 empty] | Arizona | Region9 |  | Arizona
[6 empty] | California | Region9 |  | California
[6 empty] | Nevada | Region9 |  | Nevada
[6 empty] | Utah | Region9 |  | Utah
[6 empty] | Alaska | Region10 |  | Alaska
[6 empty] | Hawaii | Region10 |  | Hawaii
[6 empty] | Idaho | Region10 |  | Idaho
[6 empty] | Montana | Region10 |  | Montana
[6 empty] | Oregon | Region10 |  | Oregon
[6 empty] | Washington | Region10 |  | Washington
[6 empty] | Wyoming | Region10 |  | Wyoming

## test (hidden)
ACEEE Data - Hospital (General Medical & Surgical) for tool
Property Id | Property Name | Parent Property Name | Year Ending | City | Postal Code | Number of Buildings | Year Built | Occupancy | Metered Areas (Energy) | Metered Areas (Water) | Hospital (General Medical & Surgical) - Gross Floor Area (ft²) | Area Key | Hospital (General Medical & Surgical) - Licensed Bed Capacity | Bed Key | Hospital (General Medical & Surgical) - Number of MRI Machines | Hospital (General Medical & Surgical) - Onsite Laundry Facility | Other - Specialty Hospital - Gross Floor Area (ft²) | Other - Specialty Hospital - Weekly Operating Hours | Electricity Use - Grid Purchase (kWh) | One year electricity use savings | Electricity Use – Generated from Onsite Renewable Systems and Used Onsite (kWh) | Electricity Use - Grid Purchase and Generated from Onsite Renewable Systems (kWh) | Natural Gas Use (therms) | One year natural gas use savings | Diesel #2 Use (kBtu) | ENERGY STAR Score | Site EUI (kBtu/ft²) | Site Energy Use (kBtu) |  | Site Energy Use - Adjusted to Current Year (kBtu) | Weather Normalized Site EUI (kBtu/ft²) | Weather normalized EUI % reduction | Weather Normalized Water/Wastewater Site EUI (kBtu/gpd) | Water Use (All Water Sources) (kgal) | Energy Cost ($) | Energy Cost Intensity ($/ft²) | Total Water Cost (All Water Sources) ($) | Total Water Cost Intensity (All Water Sources) ($/ft²) | Investment in Energy Projects, Cumulative ($) | Estimated Savings from Energy Projects, Cumulative ($) | Green Power - Onsite and Offsite (kWh) | Avoided Emissions - Onsite and Offsite Green Power (Metric Tons CO2e) | Total GHG Emissions (Metric Tons CO2e) | Direct GHG Emissions (Metric Tons CO2e) | Indirect GHG Emissions (Metric Tons CO2e) | Net Emissions (Metric Tons CO2e) | State/Province | Region Key | Combined Key |  |  | Number of EtC winners | Energy savings | Winning hospital in the region | State
28405 | Westchester Division | Not Applicable: Standalone Property | 2013-12-31 | White Plains | 10605 | 0 | 1930 | 100 | Whole Building | Whole Building | 602980 | AreaE | 416.06 | BedC | 1 | No | Not Available | Not Available | 6210737.9 | -178817.7 | Not Available | 6210739 | 860167.1015 | -39703.3294 | Not Available | 99 | 182.9 | 110304374.4 | -6.462% | 111307476.7 | 188.2 | 2.487% | Not Available | Not Available | Not Available | Not Available | Not Available | Not Available | 0 | 0 | 0 | 0 | 6593.2 | 4798.6 | 1794.7 | 6593.2 | New York | Region1 | AreaERegion1 |  | Region1 | 11 | 35.12% | Russell Regional Hospital | Kansas | 35.12%
28405 | Westchester Division | Not Applicable: Standalone Property | 2007-12-31 | White Plains | 10605 | 0 | 1930 | 100 | Whole Building | Whole Building | 602980 | AreaE | 416.06 | BedC | 1 | No | Not Available | Not Available | 6488139.4 | -523900.2 | Not Available | 6488140 | 671879.9864 | 128414.9833 | Not Available | 99 | 189.9 | 114499532.4 | 6.366% | 115607430 | 189.9 | 6.361% | Not Available | Not Available | Not Available | Not Available | Not Available | Not Available | 0 | 0 | 0 | 0 | 7311.6 | 5436.8 | 1874.8 | 7311.6 | New York | Region1 | AreaERegion1 |  | Region2 | 5 | 12.59% | Wellspan Surgery and Rehab Hospital | Pennsylvania | 0
28405 | Westchester Division | Not Applicable: Standalone Property | 2006-12-31 | White Plains | 10605 | 0 | 1930 | 100 | Whole Building | Whole Building | 602980 | AreaE | 416.06 | BedC | 1 | No | Not Available | Not Available | 5964239.2 | -301119.9 | Not Available | 5964240 | 800294.9697 | -98045.7666 | Not Available | 98 | 202.8 | 122284483.4 | -6.181% | 123630590.9 | 202.8 | -6.178% | Not Available | Not Available | Not Available | Not Available | Not Available | Not Available | 0 | 0 | 0 | 0 | 7599.7 | 5876.3 | 1723.4 | 7599.7 | New York | Region1 | AreaERegion1 |  | Region3 | 21 | 19.7% | CHS Pineville | North Carolina
4743676 | Wellspan Surgery and Rehab Hospital | Not Applicable: Standalone Property | 2016-12-31 | York | 17403 | 1 | 1960 | 100 | Whole Building | Whole Building | 146000 | AreaB | 103.78 | BedB | 0 | No | Not Available | Not Available | 3822066.1 | 319958.5 | Not Available | 3822067 | 177994.1961 | 38863.3936 | Not Available | 51 | 211.2 | 30840310.6 | 13.9% | 30511361 | 213.8 | 12.59% | Not Available | Not Available | 431329.03 | 2.95 | Not Available | Not Available | 0 | 0 | 0 | 0 | 2266.6 | 945.4 | 1321.2 | 2266.6 | Pennsylvania | Region2 | AreaBRegion2 |  | Region4 | 2 | 7.663% | UF Health Shands Cancer Hospital | Florida
1721339 | University of Arkansas for Medical Sciences | Not Applicable: Standalone Property | 2009-12-31 | Little Rock | 72205 | 42 | 1955 | 100 | Whole Building | Not Available | 3732417 | AreaF | 470 | BedC | 8 | No | Not Available | Not Available | 150376277.5 | -9115871 | Not Available | 150376300 | 4988564.1912 | -291205.4172 | Not Available | 13 | 245.4 | 936250066.6 | -1.771% | 967441246.8 | 244.5 | 21.23% | Not Available | Not Available | 12134907.5 | 3.18 | Not Available | Not Available | 0 | 0 | 0 | 0 | 79417.1 | 26496.7 | 52920.5 | 79417.1 | Arkansas | Region7 | AreaFRegion7 |  | Region5 | 36 | 29.35% | Barnesville Hospital | Ohio
3297548 | University Hospital | Not Applicable: Standalone Property | 2017-12-31 | Madison | 537921525 | 1 | 1979 | 100 | Whole Building | Whole Building | 1738623 | AreaF | 679 | BedD | 5 | No | Not Available | Not Available | 44288251.8 | 776433.7 | Not Available | 44288260 | Not Available | #VALUE! | Not Available | 22 | 307.9 | 535283479.3 | 11.07% | 539968776.5 | 310.8 | 11.12% | Not Available | 40441.2 | 6122813.01 | 3.52 | 198712.68 | 0.11 | 0 | 0 | 0 | 0 | 57318.9 | 0 | 57318.9 | 57318.9 | Wisconsin | Region6 | AreaFRegion6 |  | Region6 | 9 | 14.06% | Aurora Medical Center - Summit | Wisconsin
4431897 | UF Health Shands Cancer Hospital | Not Applicable: Standalone Property | 2017-12-31 | Gainesville | 32608 | 2 | 1958 | 100 | Whole Building | Not Available | 546365 | AreaE | 345 | BedC | 1 | No | Not Available | Not Available | 16906964.9 | 167960 | Not Available | 16906970 | 11898.0001 | -1268.9995 | Not Available | 16 | 318.2 | 232353138.6 | 5.004% | 232353133 | 312.1 | 7.663% | Not Available | Not Available | 4828291.42 | 6.61 | Not Available | Not Available | 0 | 0 | 0 | 0 | Not Available | 63.2 | Not Available | 0 | Florida | Region4 | AreaERegion4 | BedDAreaERegion5 | Region7 | 27 | 32.25% | Memorial Hermann Katy Hospital | Texas
1159992 | Thompson Health Main Campus | Not Applicable: Standalone Property | 2007-12-31 | Canandaigua | 14424 | 3 | 1969 | 85 | Whole Building | Not Available | 381540 | AreaD | 307.1 | BedC | 1 | No | Not Available | Not Available | 7932641.1 | 252768.2 | Not Available | 7932642 | 552518.9798 | -1465.9657 | Not Available | 78 | 215.8 | 82318072.7 | 6.32% | 91772627.5 | 214.9 | 6.075% | Not Available | 24088.8 | 1231121.59 | 3.23 | 81231.09 | 0.21 | 50350 | 25814 | 0 | 0 | 3999.5 | 2934.7 | 1064.8 | 3999.5 | New York | Region1 | AreaDRegion1 |  | Region8 | 2 | 35.12% | Russell Regional Hospital | Kansas
28404 | The Allen Hospital | Not Applicable: Standalone Property | 2013-12-31 | New York | 10034 | 1 | 1991 | 100 | Whole Building | Whole Building | 308789 | AreaD | 206.9 | BedB | 0 | No | Not Available | Not Available | 9084257.2 | 1205042.9 | Not Available | 9084258 | 179537.0343 | -26206.8066 | Not Available | 86 | 158.5 | 48949192.7 | 2.956% | 51915421.3 | 158.3 | 5.605% | Not Available | 17852.8 | Not Available | Not Available | Not Available | Not Available | 0 | 0 | 0 | 0 | 3578.6 | 953.6 | 2625 | 3578.6 | New York | Region1 | AreaDRegion1 |  | Region9 | 5 | 19.09% | Canyon Vista Medical Center | Arizona
28404 | The Allen Hospital | Not Applicable: Standalone Property | 2005-12-31 | New York | 10034 | 1 | 1991 | 100 | Whole Building | Whole Building | 308789 | AreaD | 206.9 | BedB | 0 | No | Not Available | Not Available | 10019997.7 | -631198.9 | Not Available | 10020000 | 217210.9749 | -7953.9795 | Not Available | 73 | 181.1 | 55909333.9 | -5.568% | 57784025 | 176.9 | -4.551% | Not Available | Not Available | Not Available | Not Available | Not Available | Not Available | 0 | 0 | 0 | 0 | 4049.1 | 1153.7 | 2895.4 | 4049.1 | New York | Region1 | AreaDRegion1 |  | Region10 | 0 | 19.09% | Canyon Vista Medical Center | Arizona
1224637 | Texas Children's Hospital West Tower | Not Applicable: Standalone Property | 2012-12-31 | Houston | 77030 | 1 | 1989 | 100 | Whole Building | Not Available | 1118729 | AreaF | 771.9 | BedD | 2 | 100% Yes | Not Available | Not Available | 25846516 | -365631 | Not Available | 25846520 | Not Available | #VALUE! | Not Available | 69 | 263.5 | 294782428.5 | 9.282% | 295261445.1 | 261.6 | 9.009% | Not Available | Not Available | Not Available | Not Available | Not Available | Not Available | 0 | 0 | 0 | 0 | Not Available | Not Available | 12130.8 | 0 | Texas | Region7 | AreaFRegion7
1224637 | Texas Children's Hospital West Tower | Not Applicable: Standalone Property | 2011-12-31 | Houston | 77030 | 1 | 1989 | 100 | Whole Building | Not Available | 1118729 | AreaF | 771.9 | BedD | 2 | 100% Yes | Not Available | Not Available | 25480885 | 828964.8 | Not Available | 25480890 | Not Available | #VALUE! | Not Available | 61 | 290.5 | 324942742.4 | 4.92% | 321067671.4 | 287.5 | 6.015% | Not Available | Not Available | Not Available | Not Available | Not Available | Not Available | 0 | 0 | 0 | 0 | Not Available | Not Available | 13941.7 | 0 | Texas | Region7 | AreaFRegion7
4066168 | Swedish Covenant Hospital | Swedish Covenant Hospital Campus | 2014-12-31 | Chicago | 60625 | 0 | 1999 | 100 | Whole Building | Not Available | 607911 | AreaE | 312 | BedC | 2 | No | Not Available | Not Available | 22827666.2 | 1038197.1 | Not Available | 22827670 | 687007.0008 | 40688.3335 | Not Available | 31 | 241.1 | 146588706.5 | 4.936% | 149250471.5 | 240.6 | 4.562% | Not Available | Not Available | Not Available | Not Available | Not Available | Not Available | 0 | 0 | 0 | 0 | 16606.8 | 3649 | 12957.8 | 16606.8 | Illinois | Region5 | AreaERegion5
2710504 | St. Vincent Seton Specialty Hospital | Not Applicable: Standalone Property | 2017-12-31 | Indianapolis | 462602478 | 1 | 2001 | 100 | Whole Building | Whole Building | 64422 | AreaB | 44.2 | BedA | 1 | No | Not Available | Not Available | 2087999.9 | 53249.7 | Not Available | 2088000 | 50500.1955 | 2318.9041 | Not Available | 99 | 189 | 12174276 | 3.286% | 12175591.6 | 193.4 | 1.024% | Not Available | Not Available | 185273.55 | 2.88 | Not Available | Not Available | 0 | 0 | 0 | 0 | 1453.5 | 268.2 | 1185.2 | 1453.5 | Indiana | Region5 | AreaBRegion5
23140 | St. Francis Hospital & Health Services | Not Applicable: Standalone Property | 2005-12-31 | Maryville | 64468 | 1 | 1968 | 100 | Whole Building | Not Available | 173961 | AreaC | 154.5 | BedB | 1 | 100% Yes | Not Available | Not Available | 4601538.4 | -451524.9 | Not Available | 4601539 | 208698.6383 | -28204.7178 | Not Available | 95 | 209 | 36570314.8 | -13.54% | 37083725.5 | 210.7 | -14.26% | Not Available | Not Available | 383715 | 2.19 | Not Available | Not Available | 0 | 0 | 0 | 0 | 4494.8 | 1108.5 | 3386.3 | 4494.8 | Missouri | Region8 | AreaCRegion8
1161724 | St. Francis Eastside | Not Applicable: Standalone Property | 2013-12-31 | Greenville | 29615 | 1 | 1990 | 100 | Whole Building | Whole Building | 212190 | AreaC | 146.4 | BedB | 1 | No | Not Available | Not Available | 6190271.3 | 159359.7 | Not Available | 6190272 | 159053.9054 | -9148.5062 | Not Available | 90 | 175.6 | 37261875 | -1.654% | 39956582.1 | 176.6 | -1.67% | Not Available | 11247.4 | 572651.76 | 2.7 | 62973.41 | 0.3 | 0 | 0 | 0 | 0 | 3136.9 | 862.3 | 2274.6 | 3136.9 | South Carolina | Region3 | AreaCRegion3
1161724 | St. Francis Eastside | Not Applicable: Standalone Property | 2012-12-31 | Greenville | 29615 | 1 | 1990 | 100 | Whole Building | Whole Building | 212190 | AreaC | 146.4 | BedB | 1 | No | Not Available | Not Available | 6349631 | 80832.4 | Not Available | 6349632 | 149905.3992 | 5411.9006 | Not Available | 90 | 172.7 | 36655483.7 | 2.914% | 39258094.1 | 173.7 | 2.416% | Not Available | 11848.5 | 537184.08 | 2.53 | 63206.08 | 0.3 | 0 | 0 | 0 | 0 | 3129.4 | 796.2 | 2333.2 | 3129.4 | South Carolina | Region3 | AreaCRegion3
1160002 | St. Elizabeth Ft. Thomas | Not Applicable: Standalone Property | 2012-12-31 | Ft. Thomas | 41075 | 1 | 1957 | 100 | Whole Building | Not Available | 401774 | AreaD | 277.2 | BedB | 1 | No | Not Available | Not Available | 12737897.2 | 31167.3 | Not Available | 12737900 | 603380.352 | -4760.6587 | Not Available | 21 | 258.4 | 103799745.8 | -0.3575% | 106465427.8 | 262.9 | -1.506% | Not Available | Not Available | 915577.32 | 2.28 | Not Available | Not Available | 0 | 0 | 0 | 0 | 10095.4 | 3204.8 | 6890.6 | 10095.4 | Kentucky | Region3 | AreaDRegion3
1160343 | St. Elizabeth Florence | Not Applicable: Standalone Property | 2012-12-31 | Florence | 41042 | 1 | 1978 | 100 | Whole Building | Not Available | 389900 | AreaD | 269 | BedB | 1 | No | Not Available | Not Available | 11017552.4 | 569474.9 | Not Available | 11017550 | 526694.7733 | 12078.3285 | Not Available | 47 | 231.5 | 90261370.9 | 3.373% | 93117601.5 | 235.1 | 2.367% | Not Available | Not Available | 789801.9 | 2.03 | Not Available | Not Available | 0 | 0 | 0 | 0 | 8757.5 | 2797.5 | 5959.9 | 8757.5 | Kentucky | Region3 | AreaDRegion3
2551208 | South Sacramento Hospital Campus | Not Applicable: Standalone Property | 2017-12-31 | Sacramento | 95823 | 14 | 1985 | 100 | Whole Building | Whole Building | 782909 | AreaE | 539.6 | BedD | 1 | 100% Yes | Not Available | Not Available | 18606853.2 | 2172534.1 | Not Available | 18606860 | 760366.034 | -47451.04 | Not Available | 85 | 178.2 | 139523194.2 | 1.876% | 137466277.3 | 178.2 | 2.303% | Not Available | 49315 | 2888301.26 | 3.69 | 111248 | 0.14 | 0 | 0 | 0 | 0 | 8510.7 | 4038.7 | 4472 | 8510.7 | California | Region9 | AreaERegion9
1230980 | Shriners Hospital for Children-Chicago | Not Applicable: Standalone Property | 2013-12-31 | Chicago | 60707 | 1 | 1981 | 100 | Whole Building | Not Available | 196466 | AreaC | 60 | BedA | 0 | 100% Yes | Not Available | Not Available | 4893478.4 | 375747 | Not Available | 4893479 | 346719.5309 | 26196.2621 | Not Available | 26 | 261.5 | 51368503.4 | 7.059% | 52096807 | 258.4 | 7.251% | Not Available | Not Available | 624272.28 | 3.18 | Not Available | Not Available | 0 | 0 | 0 | 0 | 4619.3 | 1841.6 | 2777.7 | 4619.3 | Illinois | Region5 | AreaCRegion5
1230980 | Shriners Hospital for Children-Chicago | Not Applicable: Standalone Property | 2009-12-31 | Chicago | 60707 | 1 | 1981 | 100 | Whole Building | Not Available | 196466 | AreaC | 60 | BedA | 0 | 100% Yes | Not Available | Not Available | 5444820.3 | 150637.9 | Not Available | 5444821 | 338488.8236 | 44665.1616 | Not Available | 9 | 266.8 | 52426611.5 | 8.676% | 57247504.4 | 272.2 | 5.124% | Not Available | 13172.4 | 816537.32 | 4.16 | Not Available | Not Available | 0 | 0 | 0 | 0 | 4888.5 | 1797.9 | 3090.7 | 4888.5 | Illinois | Region5 | AreaCRegion5
17946 | Shriners Hospital for Children - Houston | Not Applicable: Standalone Property | 2007-12-31 | Houston | 77030 | 1 | 1996 | 100 | Whole Building | Not Available | 150562 | AreaC | 103.9 | BedB | 1 | 100% Yes | Not Available | Not Available | 2762146.7 | 76295.9 | Not Available | 2762147 | 2377.242 | 58.482 | Not Available | 100 | 175.5 | 26426649.5 | 2.361% | 26774109.2 | 177.3 | 0.1689% | Not Available | Not Available | 507491.87 | 3.37 | Not Available | Not Available | 314830 | 0 | 0 | 0 | 2166.6 | 12.6 | 2154 | 2166.6 | Texas | Region7 | AreaCRegion7
17946 | Shriners Hospital for Children - Houston | Not Applicable: Standalone Property | 2006-12-31 | Houston | 77030 | 1 | 1996 | 100 | Whole Building | Not Available | 150562 | AreaC | 103.9 | BedB | 1 | 100% Yes | Not Available | Not Available | 2838442.6 | 112493.1 | Not Available | 2838443 | 2435.724 | -153.9 | Not Available | 100 | 179.8 | 27065695.8 | 2.806% | 27310776.4 | 177.6 | 4.104% | Not Available | 4232 | Not Available | Not Available | 31432.04 | 0.21 | 314830 | 0 | 0 | 0 | 2221.6 | 12.9 | 2208.7 | 2221.6 | Texas | Region7 | AreaCRegion7
17946 | Shriners Hospital for Children - Houston | Not Applicable: Standalone Property | 2005-12-31 | Houston | 77030 | 1 | 1996 | 100 | Whole Building | Not Available | 150562 | AreaC | 103.9 | BedB | 1 | 100% Yes | Not Available | Not Available | 2950935.7 | 8653.9 | Not Available | 2950936 | 2281.824 | 130.302 | Not Available | 100 | 185 | 27847076.3 | 0.9519% | 28162193 | 185.2 | 0.5371% | Not Available | 4883 | Not Available | Not Available | 35194.49 | 0.23 | 314830 | 0 | 0 | 0 | 2294.3 | 12.1 | 2282.2 | 2294.3 | Texas | Region7 | AreaCRegion7
1447046 | Saint Thomas West Hospital | Not Applicable: Standalone Property | 2012-12-31 | Nashville | 37202 | 6 | 1974 | 100 | Whole Building | Whole Building | 1152408 | AreaF | 756.1 | BedD | 3 | No | Not Available | Not Available | 42007628.4 | 1294637.8 | Not Available | 42007630 | 1746793.9215 | 217441.3437 | Not Available | 35 | 256.8 | 302109437.6 | 7.88% | 300650301.6 | 258.9 | 6.971% | Not Available | Not Available | 4502894.82 | 3.83 | Not Available | Not Available | 0 | 0 | 0 | 0 | 30946.3 | 9278.1 | 21668.2 | 30946.3 | Tennessee | Region3 | AreaFRegion3
2521570 | Saint Thomas Rutherford Hospital | Not Applicable: Standalone Property | 2013-12-31 | Murfreesboro | 37129 | 1 | 2010 | 100 | Whole Building | Whole Building | 556362 | AreaE | 383.9 | BedC | 2 | No | Not Available | Not Available | 15830929.9 | 711022.7 | Not Available | 15830930 | 580653.411 | 13431.406 | Not Available | 74 | 201.5 | 112080480.4 | 3.253% | 113322230.5 | 202.5 | 3.571% | Not Available | Not Available | 1651209.5 | 2.97 | Not Available | Not Available | 0 | 0 | 0 | 0 | 11647.9 | 3084.1 | 8563.7 | 11647.9 | Tennessee | Region3 | AreaERegion3
1466803 | Saint Thomas Midtown Hospital (Baptist) | Not Applicable: Standalone Property | 2013-12-31 | Nashville | 37203 | 4 | 1950 | 100 | Whole Building | Whole Building | 1820956 | AreaF | 683 | BedD | 2.55 | No | Not Available | Not Available | 42105005.2 | 2130473 | Not Available | 42105010 | 1524933.9885 | -63750.6098 | Not Available | 92 | 162.6 | 296155694 | 0.301% | 305090128.9 | 163 | 1.332% | Not Available | Not Available | 4133662.17 | 2.27 | Not Available | Not Available | 0 | 0 | 0 | 0 | 30876.3 | 8099.7 | 22776.7 | 30876.3 | Tennessee | Region3 | AreaFRegion3
1466803 | Saint Thomas Midtown Hospital (Baptist) | Not Applicable: Standalone Property | 2012-12-31 | Nashville | 37203 | 4 | 1950 | 100 | Whole Building | Whole Building | 1820956 | AreaF | 683 | BedD | 2 | No | Not Available | Not Available | 44235478.2 | 2987317.9 | Not Available | 44235480 | 1461183.3787 | 317311.1551 | Not Available | 90 | 163.1 | 297049807.9 | 12.37% | 303577482.7 | 165.2 | 11.28% | Not Available | Not Available | 4356764.29 | 2.39 | Not Available | Not Available | 0 | 0 | 0 | 0 | 31690.2 | 7761 | 23929.2 | 31690.2 | Tennessee | Region3 | AreaFRegion3
1466803 | Saint Thomas Midtown Hospital (Baptist) | Not Applicable: Standalone Property | 2011-12-31 | Nashville | 37203 | 4 | 1950 | 100 | Whole Building | Whole Building | 1820956 | AreaF | 683 | BedD | 2 | No | Not Available | Not Available | 47222796.1 | 5246842.9 | Not Available | 47222800 | 1778494.5338 | 217343.6636 | Not Available | 77 | 186.2 | 338973653.1 | 10.47% | 347481859.9 | 186.2 | 9.743% | Not Available | Not Available | 4878158.48 | 2.68 | Not Available | Not Available | 0 | 0 | 0 | 0 | 34991.6 | 9446.4 | 25545.1 | 34991.6 | Tennessee | Region3 | AreaFRegion3
1466803 | Saint Thomas Midtown Hospital (Baptist) | Not Applicable: Standalone Property | 2010-12-31 | Nashville | 37203 | 4 | 1950 | 100 | Whole Building | Whole Building | 1820956 | AreaF | 683 | BedD | 2 | No | Not Available | Not Available | 52469639 | 1409616.8 | Not Available | 52469650 | 1995838.1974 | 213166.2031 | Not Available | 58 | 207.9 | 378610249.6 | 6.455% | 385474480 | 206.3 | 7.114% | Not Available | Not Available | 5207183.34 | 2.86 | Not Available | Not Available | 0 | 0 | 0 | 0 | 38984.2 | 10600.8 | 28383.4 | 38984.2 | Tennessee | Region3 | AreaFRegion3
4682536 | Russell Regional Hospital | Russell Regional Hospital | 2016-12-31 | Russell | 67665 | 2 | 1941 | 100 | Whole Building | Whole Building | 80623 | AreaB | 47 | BedA | 0 | 100% Yes | Not Available | Not Available | 730895.4 | 484816.7 | Not Available | 730895.5 | 48349.2241 | 21944.0852 | Not Available | 100 | 90.9 | 7328737.8 | 34.43% | 7318702.9 | 90.9 | 35.12% | Not Available | 1540.4 | 116453.71 | 1.44 | 25437.05 | 0.32 | 0 | 0 | 0 | 0 | 728.3 | 256.8 | 471.5 | 728.3 | Kansas | Region8 | AreaBRegion8
1477187 | Providence Park Hospital | Not Applicable: Standalone Property | 2017-12-31 | Novi | 48374 | 1 | 2007 | 100 | Whole Building | Whole Building | 840083 | AreaE | 347.8 | BedC | 1 | No | Not Available | Not Available | 24790076.9 | 911681.5 | Not Available | 24790080 | 675590.162 | 18570.852 | Not Available | 42 | 181.1 | 152142769 | 3.162% | 154256637.6 | 183.1 | 27.94% | Not Available | Not Available | 1939303.32 | 2.31 | Not Available | Not Available | 0 | 0 | 0 | 0 | 17968.5 | 3588.4 | 14380.1 | 17968.5 | Michigan | Region5 | AreaERegion5
1447047 | Providence Hospital - Mobile | Not Applicable: Standalone Property | 2017-12-31 | Mobile | 36685 | 4 | 1987 | 100 | Whole Building | Whole Building | 693259 | AreaE | 478.3 | BedC | 2 | No | Not Available | Not Available | 1826999.8 | 54000.1 | Not Available | 1827000 | 259055.5038 | -60794.4943 | Not Available | 100 | 46.4 | 32139274.5 | -22.46% | 32176525.4 | 48.6 | -28.57% | Not Available | Not Available | 437983.39 | 0.63 | Not Available | Not Available | 0 | 0 | 0 | 0 | 1376 | 1376 | 0 | 1376 | Alabama | Region4 | AreaERegion4
19887 | Park Ridge Health | Not Applicable: Standalone Property | 2011-12-31 | Hendersonville | 28792 | 1 | 1985 | 100 | Whole Building | Not Available | 197042 | AreaC | 136 | BedB | 1 | No | Not Available | Not Available | 7068651.1 | 83369.8 | Not Available | 7068652 | 283759.0003 | 32980 | Not Available | 26 | 267.5 | 52701140.4 | 6.158% | 52069718 | 266.7 | 4.954% | Not Available | 10203.2 | 591510.96 | 3 | 30371.66 | 0.15 | 0 | 0 | 0 | 0 | 4119.9 | 1522.5 | 2597.4 | 4119.9 | North Carolina | Region3 | AreaCRegion3
4158243 | Owensboro Health Regional Hospital | Not Applicable: Standalone Property | 2017-12-31 | Owensboro | 42303 | 1 | 2012 | 100 | Whole Building | Not Available | 786990 | AreaE | 455 | BedC | 1 | No | Not Available | Not Available | 22467220.3 | 2877678.2 | Not Available | 22467220 | 1037270.691 | 134628.244 | Not Available | Not Available | 228.8 | 180385234.1 | 11.43% | Not Available | 233.2 | 9.437% | Not Available | Not Available | 2702786.88 | 3.43 | Not Available | Not Available | 0 | 0 | 0 | 0 | 17663.1 | 5509.4 | 12153.6 | 17663.1 | Kentucky | Region3 | AreaERegion3
28402 | NYP Cornell (East Campus) | NYP Cornell (East Campus) | 2013-12-31 | New York | 10021 | 12 | 1932 | 100 | Whole Building | Whole Building | 2971874 | AreaF | 2050.6 | BedD | 3 | No | Not Available | Not Available | 26271182.9 | 3276726.9 | Not Available | 26271190 | 12801880.6042 | -249142.9397 | Not Available | 70 | 309.5 | 919842924.4 | -1.376% | 934186013.9 | 309.5 | -1.376% | Not Available | Not Available | Not Available | Not Available | Not Available | Not Available | 1304260 | 0 | 0 | 0 | 45873.7 | 69550.7 | -23677 | 45873.7 | New York | Region1 | AreaFRegion1
28400 | NYP Columbia (West Campus) | NYP Columbia (West Campus) | 2013-12-31 | New York | 10032 | 12 | 1969 | 100 | Whole Building | Whole Building | 3889181 | AreaF | 2683.5 | BedD | 9 | No | Not Available | Not Available | 101464098.7 | -70170.7 | Not Available | 101464100 | 9050832.49 | 12660.65 | Not Available | 8 | 331.2 | 1288255036.6 | -10.41% | 1291585175.6 | 331.3 | -8.41% | Not Available | Not Available | Not Available | Not Available | Not Available | Not Available | 763384 | 0 | 0 | 0 | 80167.6 | 50958.6 | 29209.1 | 80167.6 | New York | Region1 | AreaFRegion1
28400 | NYP Columbia (West Campus) | NYP Columbia (West Campus) | 2007-12-31 | New York | 10032 | 12 | 1969 | 100 | Whole Building | Whole Building | 3889181 | AreaF | 2683.5 | BedD | 9 | 100% Yes | Not Available | Not Available | 92146534.1 | 8677674.8 | Not Available | 92146550 | 7118939.626 | -954981.705 | Not Available | 60 | 239.3 | 930524666.1 | 17.62% | 925474024.1 | 243.6 | 13.53% | Not Available | 329033.7 | Not Available | Not Available | Not Available | Not Available | 763384 | 0 | 0 | 0 | 61081.6 | 63083 | -2001.4 | 61081.6 | New York | Region1 | AreaFRegion1
28400 | NYP Columbia (West Campus) | NYP Columbia (West Campus) | 2006-12-31 | New York | 10032 | 12 | 1969 | 100 | Whole Building | Whole Building | 3889181 | AreaF | 2683.5 | BedD | 9 | 100% Yes | Not Available | Not Available | 100824208.9 | -11359234.9 | Not Available | 100824200 | 6163957.9214 | -508405.7728 | Not Available | 23 | 290.5 | 1129618725.1 | -7.696% | 1130930201.6 | 281.7 | -4.682% | Not Available | 340540.3 | Not Available | Not Available | Not Available | Not Available | 763384 | 0 | 0 | 0 | 76719.4 | 63760.3 | 12959.1 | 76719.4 | New York | Region1 | AreaFRegion1
28400 | NYP Columbia (West Campus) | NYP Columbia (West Campus) | 2005-12-31 | New York | 10032 | 12 | 1969 | 100 | Whole Building | Whole Building | 3889181 | AreaF | 2683.5 | BedD | 9 | 100% Yes | Not Available | Not Available | 89464974 | 1170061 | Not Available | 89464980 | 5655552.1486 | -542067.3786 | Not Available | 43 | 269.7 | 1048892013.3 | 25.54% | 1043154544.2 | 269.1 | 25.72% | Not Available | Not Available | Not Available | Not Available | Not Available | Not Available | 763384 | 0 | 0 | 0 | 71529.3 | 64086.8 | 7442.5 | 71529.3 | New York | Region1 | AreaFRegion1
2793034 | Midland Memorial Hospital | Midland Memorial Hospital | 2016-12-31 | Midland | 79701 | 2 | 1950 | 100 | Whole Building | Not Available | 869102 | AreaE | 474 | BedC | 2 | No | Not Available | Not Available | 22562009.6 | 997654.7 | Not Available | 22562010 | 748164.9445 | 63299.8843 | Not Available | 83 | 174.7 | 151798080.6 | 6.026% | 153461929.4 | 173.4 | 6.472% | Not Available | 50531.5 | 1568349.18 | 1.8 | 489169.57 | 0.56 | 0 | 0 | 0 | 0 | 14351.4 | 3973.9 | 10377.6 | 14351.4 | Texas | Region7 | AreaERegion7
2793034 | Midland Memorial Hospital | Midland Memorial Hospital | 2015-12-31 | Midland | 79701 | 2 | 1950 | 100 | Whole Building | Not Available | 869102 | AreaE | 279.19 | BedB | 2 | No | Not Available | Not Available | 23559664.3 | 3251053.9 | Not Available | 23559670 | 811464.8288 | 259731.2508 | Not Available | 74 | 185.9 | 161532067.2 | 18.66% | 164543190.5 | 185.4 | 19.25% | Not Available | 51096.2 | 1721533.57 | 1.98 | 497578.2 | 0.57 | 0 | 0 | 0 | 0 | 15146.5 | 4310.1 | 10836.5 | 15146.5 | Texas | Region7 | AreaERegion7
2793034 | Midland Memorial Hospital | Midland Memorial Hospital | 2014-12-31 | Midland | 79701 | 2 | 1950 | 100 | Whole Building | Not Available | 869102 | AreaE | 263 | BedB | 2 | No | Not Available | Not Available | 26810718.2 | 1327304.4 | Not Available | 26810720 | 1071196.0796 | 41369.5382 | Not Available | 41 | 228.5 | 198597789.5 | 4.181% | 201168257.1 | 229.6 | 3.973% | Not Available | 61534 | 2412036.38 | 2.78 | 563729.11 | 0.65 | 0 | 0 | 0 | 0 | 18021.4 | 5689.6 | 12331.8 | 18021.4 | Texas | Region7 | AreaERegion7
4458873 | Methodist Hospital | Not Applicable: Standalone Property | 2017-12-31 | Henderson | 42420 | 1 | 1946 | 85 | Whole Building | Not Available | 493454 | AreaD | 205 | BedB | 1 | 100% Yes | Not Available | Not Available | 14225356.8 | 1575418.8 | Not Available | 14225360 | 601965.0389 | 111557.7742 | Not Available | 50 | 220.4 | 108733427.1 | 13.2% | 110261141.3 | 224.1 | 13.11% | Not Available | Not Available | Not Available | Not Available | Not Available | Not Available | 0 | 0 | 0 | 0 | 10892.5 | 3197.3 | 7695.2 | 10892.5 | Kentucky | Region3 | AreaDRegion3
3909588 | Mercy Willard Hospital | Not Applicable: Standalone Property | 2016-12-31 | Willard | 44890 | 1 | 2012 | 100 | Whole Building | Not Available | 105387 | AreaB | 25 | BedA | 1 | No | Not Available | Not Available | 2781359.7 | 84486.9 | Not Available | 2781360 | 108155.4894 | 40708.9601 | Not Available | 80 | 192.7 | 20305549.5 | 17.67% | 20274194.8 | 195.3 | 15.49% | Not Available | Not Available | Not Available | Not Available | Not Available | Not Available | 0 | 0 | 0 | 0 | 2153.3 | 574.5 | 1578.8 | 2153.3 | Ohio | Region5 | AreaBRegion5
3909588 | Mercy Willard Hospital | Not Applicable: Standalone Property | 2015-12-31 | Willard | 44890 | 1 | 2012 | 100 | Whole Building | Not Available | 105387 | AreaB | 25 | BedA | 1 | No | Not Available | Not Available | 2865846.6 | 158576.7 | Not Available | 2865847 | 148864.4495 | 42182.58 | Not Available | 52 | 234 | 24664714.8 | 16.17% | 25115142.4 | 231.1 | 16.15% | Not Available | Not Available | Not Available | Not Available | Not Available | Not Available | 0 | 0 | 0 | 0 | 2417.4 | 790.7 | 1626.8 | 2417.4 | Ohio | Region5 | AreaBRegion5
1577320 | Memorial Hermann Sugar Land Hospital | Not Applicable: Standalone Property | 2017-12-31 | Sugar Land | 77479 | 1 | 2005 | 100 | Whole Building | Not Available | 361204 | AreaD | 166.9 | BedB | 1.16 | No | Not Available | Not Available | 9743513.9 | -455500.4 | Not Available | 9743515 | 126313.2251 | -12294.8398 | Not Available | 100 | 127 | 45876195.9 | -6.46% | 45898169.3 | 124.1 | 10.4% | Not Available | 26163.7 | 693193.3 | 1.92 | 162841.09 | 0.45 | 0 | 0 | 0 | 0 | 5152.5 | 670.9 | 4481.6 | 5152.5 | Texas | Region7 | AreaDRegion7
1577320 | Memorial Hermann Sugar Land Hospital | Not Applicable: Standalone Property | 2011-12-31 | Sugar Land | 77479 | 1 | 2005 | 100 | Whole Building | Not Available | 241914 | AreaC | 166.9 | BedB | 0 | No | Not Available | Not Available | 8004248.8 | 245847 | Not Available | 8004250 | 79970.003 | 29129.9959 | Not Available | 90 | 146 | 35307500.7 | 9.605% | 57786091.5 | 144.5 | 12.9% | Not Available | 24404 | 690090.37 | 2.85 | 120182 | 0.5 | 0 | 0 | 0 | 0 | 4106.4 | 424.8 | 3681.6 | 4106.4 | Texas | Region7 | AreaCRegion7
1577320 | Memorial Hermann Sugar Land Hospital | Not Applicable: Standalone Property | 2010-12-31 | Sugar Land | 77479 | 1 | 2005 | 100 | Whole Building | Not Available | 235892.6 | AreaC | 166.9 | BedB | 0 | No | Not Available | Not Available | 8250095.8 | -146501 | Not Available | 8250097 | 109099.9989 | 31830.0035 | Not Available | 77 | 165.6 | 39059330.3 | 6.428% | 66548622.9 | 165.9 | 9.046% | Not Available | 18226 | 779058.39 | 3.3 | 105778 | 0.45 | 0 | 0 | 0 | 0 | 4374.2 | 579.5 | 3794.7 | 4374.2 | Texas | Region7 | AreaCRegion7
1781181 | Memorial Hermann Southwest Heart and Vascular Institute | Memorial Hermann Southwest Campus | 2014-12-31 | Houston | 77074 | 1 | 2007 | 100 | Whole Building | Whole Building | 165383 | AreaC | 114.1 | BedB | 0 | No | Not Available | Not Available | 3929731.3 | 471412.4 | Not Available | 3929732 | Not Available | #VALUE! | Not Available | 94 | 134.1 | 22182051.5 | 18.14% | 22705682.4 | 135.4 | 17.84% | Not Available | 9001.8 | 343727.25 | 2.08 | 75808.16 | 0.46 | 0 | 0 | 0 | 0 | 2390.1 | 0 | 2390.1 | 2390.1 | Texas | Region7 | AreaCRegion7
1781181 | Memorial Hermann Southwest Heart and Vascular Institute | Memorial Hermann Southwest Campus | 2011-12-31 | Houston | 77074 | 1 | 2007 | 100 | Whole Building | Whole Building | 165383 | AreaC | 114.1 | BedB | 0 | No | Not Available | Not Available | 5275934.3 | 471179.8 | Not Available | 5275935 | 1523 | 934 | Not Available | 36 | 218.4 | 36121790.5 | 6.794% | 35646551 | 216.7 | 7.905% | Not Available | 14995 | 528633.45 | 3.2 | 121150 | 0.73 | 0 | 0 | 0 | 0 | 3627.8 | 8.1 | 3619.8 | 3627.8 | Texas | Region7 | AreaCRegion7
1781181 | Memorial Hermann Southwest Heart and Vascular Institute | Memorial Hermann Southwest Campus | 2010-12-31 | Houston | 77074 | 1 | 2007 | 100 | Whole Building | Whole Building | 165383 | AreaC | 114.1 | BedB | 0 | No | Not Available | Not Available | 5747114.1 | 282766.8 | Not Available | 5747115 | 2457 | 382.9999 | Not Available | 19 | 234.3 | 38754855.1 | 9.079% | 38988932.4 | 235.3 | 8.586% | Not Available | 13696 | 635645.25 | 3.84 | 87505 | 0.53 | 0 | 0 | 0 | 0 | 3911.4 | 13.1 | 3898.4 | 3911.4 | Texas | Region7 | AreaCRegion7
1460283 | Memorial Hermann Southeast Hospital | Not Applicable: Standalone Property | 2014-12-31 | Houston | 77089 | 1 | 1986 | 100 | Whole Building | Not Available | 520885 | AreaE | 272 | BedB | 1 | No | Not Available | Not Available | 14898637.7 | 1165871.9 | Not Available | 14898640 | 324224.197 | 140466.73 | Not Available | 93 | 159.8 | 83256577.8 | 17.8% | 92131069.1 | 160.4 | 17.45% | Not Available | 34180.5 | 1292843.61 | 2.48 | 296939.13 | 0.57 | 0 | 0 | 0 | 0 | 8574.9 | 1722.1 | 6852.7 | 8574.9 | Texas | Region7 | AreaERegion7
1460283 | Memorial Hermann Southeast Hospital | Not Applicable: Standalone Property | 2010-12-31 | Houston | 77089 | 1 | 1986 | 100 | Whole Building | Not Available | 520885 | AreaE | 272 | BedB | 1 | No | Not Available | Not Available | 16395483.4 | 806524.9 | Not Available | 16395490 | 517840.031 | 91428.964 | Not Available | 78 | 206.8 | 107725399.2 | 9.944% | 113721617.5 | 206.8 | 9.812% | Not Available | 32172 | 1722703.12 | 3.31 | 212372.01 | 0.41 | 0 | 0 | 0 | 0 | 10291.7 | 2750.5 | 7541.2 | 10291.7 | Texas | Region7 | AreaERegion7
1747727 | Memorial Hermann Northeast Hospital | Not Applicable: Standalone Property | 2011-12-31 | Humble | 77338 | 1 | 1977 | 100 | Whole Building | Not Available | 397201 | AreaD | 274.1 | BedB | 1 | No | Not Available | Not Available | 13219336.8 | 567980.9 | Not Available | 13219340 | 132630.0012 | 48069.9992 | Not Available | 94 | 146.9 | 58367382.6 | 10.36% | 61699511.2 | 146.3 | 11.23% | Not Available | 17617.6 | 1150807.04 | 2.9 | 157439.25 | 0.4 | 0 | 0 | 0 | 0 | 5754 | 704.5 | 5049.5 | 5754 | Texas | Region7 | AreaDRegion7
1747727 | Memorial Hermann Northeast Hospital | Not Applicable: Standalone Property | 2010-12-31 | Humble | 77338 | 1 | 1977 | 100 | Whole Building | Not Available | 397201 | AreaD | 274.1 | BedB | 1 | No | Not Available | Not Available | 13787317.7 | 1219729.4 | Not Available | 13787320 | 180700.0004 | 192069.9704 | Not Available | 86 | 163.9 | 65112333.8 | 26.41% | 70001235.3 | 164.8 | 25.97% | Not Available | 14767.9 | 1323710.99 | 3.33 | 64238.97 | 0.16 | 0 | 0 | 0 | 0 | 6226.2 | 959.8 | 5266.5 | 6226.2 | Texas | Region7 | AreaDRegion7
1458017 | Memorial Hermann Katy Hospital | Not Applicable: Standalone Property | 2016-12-31 | Katy | 77494 | 1 | 2005 | 100 | Whole Building | Not Available | 472711 | AreaD | 215.4 | BedB | 2 | No | Not Available | Not Available | 14913258.4 | -3337157.4 | Not Available | 14913260 | 170288.0672 | -49375.8143 | Not Available | 95 | 143.7 | 67912850.7 | -31.64% | 69345941.9 | 144.3 | 8.786% | Not Available | 28522.2 | 1053330.27 | 2.23 | 270531.26 | 0.57 | 0 | 0 | 0 | 0 | 6601 | 904.5 | 5696.5 | 6601 | Texas | Region7 | AreaDRegion7
1458017 | Memorial Hermann Katy Hospital | Not Applicable: Standalone Property | 2010-12-31 | Katy | 77494 | 1 | 2005 | 100 | Whole Building | Not Available | 312189 | AreaD | 215.4 | BedB | 1 | No | Not Available | Not Available | 11190267.1 | 1671231.4 | Not Available | 11190270 | 102690.0013 | 177240.0047 | Not Available | 92 | 155.2 | 48450196 | 32.59% | 72817736.1 | 155.9 | 32.25% | Not Available | 20779 | 996674.01 | 3.19 | 206934 | 0.66 | 0 | 0 | 0 | 0 | 4819.9 | 545.4 | 4274.4 | 4819.9 | Texas | Region7 | AreaDRegion7
4682251 | McLaren Bay Region | Not Applicable: Standalone Property | 2017-12-31 | Bay City | 48708 | 1 | 1977 | 85 | Whole Building | Whole Building | 521184 | AreaE | 399 | BedC | 3 | No | Not Available | Not Available | 11698676 | 4445880.2 | Not Available | 11698680 | 802053.713 | 16616.217 | Not Available | 82 | 230.5 | 120121258.7 | 12.29% | 120121255 | 235.2 | 12.27% | Not Available | Not Available | 1188849.95 | 2.28 | Not Available | Not Available | 0 | 0 | 0 | 0 | 11046.2 | 4260.1 | 6786.1 | 11046.2 | Michigan | Region5 | AreaERegion5
3425772 | Latrobe Hospital | Not Applicable: Standalone Property | 2017-12-31 | Latrobe | 15650 | 1 | 1942 | 100 | Whole Building | Whole Building | 410844 | AreaD | 331.5 | BedC | 1 | No | Not Available | Not Available | 15604496 | 872299.8 | Not Available | 15604500 | 781350.468 | 54367.053 | Not Available | 7 | 275.6 | 131377593.5 | 6.018% | 133376768.5 | 281.9 | 5.084% | Not Available | Not Available | 1360157.55 | 2.85 | Not Available | Not Available | 0 | 0 | 0 | 0 | 13007.8 | 4150.1 | 8857.7 | 13007.8 | Pennsylvania | Region2 | AreaDRegion2
2551213 | Kaiser Hospital Walnut Creek | Not Applicable: Standalone Property | 2016-12-31 | Walnut Creek | 94596 | 9 | 1984 | 100 | Whole Building | Whole Building | 624499 | AreaE | 422.6 | BedC | 3 | No | Not Available | Not Available | 19234951.4 | 1721703.4 | Not Available | 19234950 | 507566.023 | 105159.997 | Not Available | 87 | 186.4 | 116386264.5 | 12.34% | 116140736.7 | 189.2 | 10.67% | Not Available | 22884 | 2253018.63 | 3.61 | 182855.91 | 0.29 | 0 | 0 | 0 | 0 | 7318.9 | 2695.9 | 4623 | 7318.9 | California | Region9 | AreaERegion9
4384557 | Indiana Regional Medical Center | Not Applicable: Standalone Property | 2017-12-31 | Indiana | 15701 | 1 | 1914 | 100 | Whole Building | Whole Building | 374000 | AreaD | 231.49 | BedB | 1 | No | Not Available | Not Available | 9714203.4 | 134093.9 | Not Available | 9714205 | 506217.673 | -10743.9906 | Not Available | 61 | 224 | 83766633.2 | -0.7419% | 83766637.4 | 227.6 | -1.336% | Not Available | Not Available | 980231.48 | 2.62 | Not Available | Not Available | 0 | 0 | 0 | 0 | 6046.7 | 2688.8 | 3358 | 6046.7 | Pennsylvania | Region2 | AreaDRegion2
5017435 | Hopkins County Memorial Hospital | Not Applicable: Standalone Property | 2016-12-31 | Sulphur Springs | 75482 | 1 | 1967 | 100 | Whole Building | Not Available | 197244 | AreaC | 96 | BedA | 1 | 100% Yes | Not Available | Not Available | 6482255.4 | 631758 | Not Available | 6482256 | 237740.0059 | 89029.9673 | Not Available | 48 | 232.7 | 45891458.6 | 19.42% | 46442202.8 | 234.1 | 19.11% | Not Available | Not Available | 667000.44 | 3.38 | Not Available | Not Available | 0 | 0 | 0 | 0 | 4244.3 | 1262.8 | 2981.6 | 4244.3 | Texas | Region7 | AreaCRegion7
4000724 | Heart Hospital | Not Applicable: Standalone Property | 2016-12-31 | Lafayette | 70508 | 1 | 2003 | 100 | Whole Building | Whole Building | 59966 | AreaB | 35 | BedA | 0 | No | Not Available | Not Available | 3912563.2 | 160479 | Not Available | 3912564 | 82050.6789 | 10569.7074 | Not Available | 1 | 359.4 | 21554735.1 | 6.928% | 21547542.2 | 358.6 | 7.243% | Not Available | Not Available | 394989.62 | 6.59 | Not Available | Not Available | 0 | 0 | 0 | 0 | 2662.7 | 435.8 | 2226.9 | 2662.7 | Louisiana | Region7 | AreaBRegion7
4000724 | Heart Hospital | Not Applicable: Standalone Property | 2015-12-31 | Lafayette | 70508 | 1 | 2003 | 100 | Whole Building | Whole Building | 59966 | AreaB | 35 | BedA | 0 | No | Not Available | Not Available | 4073042.2 | 688559.9 | Not Available | 4073043 | 92620.3863 | 13446.6546 | Not Available | 1 | 386.2 | 23159260.2 | 13.76% | 23190222.1 | 386.6 | 13.67% | Not Available | 3053.3 | 403118.55 | 6.72 | 6167.62 | 0.1 | 0 | 0 | 0 | 0 | 2810.2 | 492 | 2318.3 | 2810.2 | Louisiana | Region7 | AreaBRegion7
3606142 | Hardin Memorial Hospital | Not Applicable: Standalone Property | 2014-12-31 | Elizabethtown | 42701 | 7 | 1954 | 100 | Whole Building | Not Available | 500000 | AreaE | 345 | BedC | 2 | 100% Yes | Not Available | Not Available | 21149248.9 | -581741.1 | Not Available | 21149250 | 798258.7942 | 22551.4686 | Not Available | 25 | 304 | 151987125.5 | 0.1775% | 152234569.3 | 299.9 | 1.64% | Not Available | Not Available | Not Available | Not Available | Not Available | Not Available | 0 | 0 | 0 | 0 | 15680.6 | 4239.9 | 11440.7 | 15680.6 | Kentucky | Region3 | AreaERegion3
22023 | Good Samaritan Hospital | Not Applicable: Standalone Property | 2012-12-31 | Cincinnati | 45220 | 9 | 1915 | 100 | Whole Building | Whole Building | 1267494 | AreaF | 657 | BedD | 2 | No | Not Available | Not Available | 35490770.3 | -8328.6 | Not Available | 35490770 | 1480333.311 | 6709.007 | Not Available | 66 | 212.6 | 269531642.1 | 0.2219% | 275392632.1 | 216.8 | -0.8841% | Not Available | 92367.8 | 3299575.45 | 2.6 | 621333.87 | 0.49 | 343000 | 0 | 0 | 0 | 7892.7 | 7892.7 | 0 | 7892.7 | Ohio | Region5 | AreaFRegion5
22023 | Good Samaritan Hospital | Not Applicable: Standalone Property | 2011-12-31 | Cincinnati | 45220 | 9 | 1915 | 100 | Whole Building | Whole Building | 1267494 | AreaF | 661 | BedD | 2 | No | Not Available | Not Available | 35482441.7 | -1011998.7 | Not Available | 35482450 | 1487042.318 | 173440.707 | Not Available | 67 | 213.1 | 270131069.5 | 4.852% | 274943457.9 | 214.9 | 3.589% | Not Available | 96564.2 | 3635574.61 | 2.87 | Not Available | Not Available | 343000 | 0 | 0 | 0 | 7925.2 | 7925.2 | 0 | 7925.2 | Ohio | Region5 | AreaFRegion5
22023 | Good Samaritan Hospital | Not Applicable: Standalone Property | 2009-12-31 | Cincinnati | 45220 | 9 | 1915 | 100 | Whole Building | Whole Building | 1252720.8 | AreaF | 882.9 | BedD | 2 | No | Not Available | Not Available | 33983927.6 | 1979690.3 | Not Available | 33983930 | 1677806.847 | 98855.188 | Not Available | 58 | 227.2 | 284577315.8 | 5.498% | 298910334.5 | 228.2 | 5.468% | Not Available | Not Available | 4627046.29 | 3.69 | Not Available | Not Available | 343000 | 0 | 0 | 0 | 8974.2 | 8974.2 | 0 | 8974.2 | Ohio | Region5 | AreaFRegion5
4230654 | Geisinger Community Medical Center | Not Applicable: Standalone Property | 2016-12-31 | Scranton | 18510 | 1 | 1969 | 100 | Whole Building | Whole Building | 519859 | AreaE | 358.7 | BedC | 1 | No | Not Available | Not Available | 16438616.2 | -345701.7 | Not Available | 16438620 | 953175.881 | -479823.5938 | Not Available | 24 | 291.2 | 151406153.5 | -48.08% | 150789378.3 | 289.3 | -2.625% | Not Available | Not Available | Not Available | Not Available | Not Available | Not Available | 0 | 0 | 0 | 0 | 10745.2 | 5062.8 | 5682.4 | 10745.2 | Pennsylvania | Region2 | AreaERegion2
3197807 | Excela Westmoreland Hospital | Not Applicable: Standalone Property | 2014-12-31 | Greensburg | 15601 | 1 | 1922 | 100 | Whole Building | Whole Building | 506619 | AreaE | 386.8 | BedC | 3 | No | Not Available | Not Available | 17506645.9 | 898823.3 | Not Available | 17506650 | 701047.017 | 107407.158 | Not Available | 45 | 256.3 | 129837384.8 | 9.612% | 130863870.2 | 255.5 | 10.91% | Not Available | Not Available | 1760010.26 | 3.47 | Not Available | Not Available | 0 | 0 | 0 | 0 | 13661 | 3723.6 | 9937.4 | 13661 | Pennsylvania | Region2 | AreaERegion2
1252717 | CHS Pineville | Not Applicable: Standalone Property | 2016-12-31 | Charlotte | 28210 | 2 | 1987 | 100 | Whole Building | Whole Building | 506495 | AreaE | 235 | BedB | 1 | No | Not Available | Not Available | 15928933.2 | 1017606 | Not Available | 15928940 | 518920.482 | 88444.7156 | Not Available | 67 | 209.8 | 106241574.8 | 12.84% | 109524551.4 | 212.2 | 14.23% | Not Available | 30179.8 | 1365856.68 | 2.7 | 280682.91 | 0.55 | 0 | 0 | 0 | 0 | 8609.4 | 2756.2 | 5853.2 | 8609.4 | North Carolina | Region3 | AreaERegion3
1252717 | CHS Pineville | Not Applicable: Standalone Property | 2015-12-31 | Charlotte | 28210 | 2 | 1987 | 100 | Whole Building | Whole Building | 506495 | AreaE | 235 | BedB | 1 | No | Not Available | Not Available | 16946539.2 | 3064020.2 | Not Available | 16946540 | 607365.1976 | 260918.1413 | Not Available | 43 | 240.7 | 121895786.7 | 21.74% | 127424482.2 | 247.4 | 19.7% | Not Available | 31731.6 | 1509575.47 | 2.98 | 286142.01 | 0.56 | 0 | 0 | 0 | 0 | 9700.8 | 3473.7 | 6227.1 | 9700.8 | North Carolina | Region3 | AreaERegion3
1252717 | CHS Pineville | Not Applicable: Standalone Property | 2014-12-31 | Charlotte | 28210 | 2 | 1987 | 100 | Whole Building | Whole Building | 506495 | AreaE | 235 | BedB | 1 | No | Not Available | Not Available | 20010559.4 | 2446218.2 | Not Available | 20010560 | 868283.3388 | 169535.2993 | Not Available | 8 | 307.5 | 155749520.7 | 14.23% | 165054298 | 308.1 | 14.35% | Not Available | 35968.8 | 1851659.82 | 3.66 | 363539.5 | 0.72 | 0 | 0 | 0 | 0 | 12012.7 | 4659.7 | 7353 | 12012.7 | North Carolina | Region3 | AreaERegion3
2732380 | CHS Lincoln | Not Applicable: Standalone Property | 2015-12-31 | Linconton | 28092 | 2 | 2008 | 100 | Whole Building | Whole Building | 178770 | AreaC | 101 | BedB | 1 | No | Not Available | Not Available | 5783992.4 | 435176.8 | Not Available | 5783993 | 178491.2932 | 34308.7089 | Not Available | 76 | 211.8 | 37855685.3 | 11.05% | 39251726.8 | 210.9 | 10.98% | Not Available | 17148.7 | 438304 | 2.45 | 316683.27 | 1.77 | 0 | 0 | 0 | 0 | 3093.6 | 968.2 | 2125.4 | 3093.6 | North Carolina | Region3 | AreaCRegion3
2732380 | CHS Lincoln | Not Applicable: Standalone Property | 2014-12-31 | Linconton | 28092 | 2 | 2008 | 100 | Whole Building | Whole Building | 178770 | AreaC | 101 | BedB | 1 | No | Not Available | Not Available | 6219169.2 | 304153.2 | Not Available | 6219170 | 212800.0021 | 57740.0046 | Not Available | 56 | 238.1 | 42558547.8 | 13.69% | 44642940.7 | 236.9 | 14.26% | Not Available | 14024.3 | 535568.44 | 3 | 290087.7 | 1.62 | 0 | 0 | 0 | 0 | 3419.9 | 1134.6 | 2285.3 | 3419.9 | North Carolina | Region3 | AreaCRegion3
3772794 | CHS Blue Ridge Morganton | Not Applicable: Standalone Property | 2014-12-31 | Morganton | 28655 | 1 | 1979 | 100 | Whole Building | Whole Building | 325273 | AreaD | 181 | BedB | 1 | No | Not Available | Not Available | 12405431.2 | 182017.1 | Not Available | 12405430 | 535169.98 | 58340.021 | Not Available | 10 | 301.8 | 98164942.2 | 4.042% | 100152382.9 | 301.1 | 4.2% | Not Available | 9222.3 | 1402459.14 | 4.31 | 25126.5 | 0.08 | 0 | 0 | 0 | 0 | 7573.2 | 3014.8 | 4558.4 | 7573.2 | North Carolina | Region3 | AreaDRegion3
4568549 | CHRISTUS SPOHN Hospital Kleberg | Not Applicable: Standalone Property | 2017-12-31 | Kingsville | 78363 | 6 | 1970 | 95 | Not Available | Not Available | 157140 | AreaC | 140.22 | BedB | 1 | No | Not Available | Not Available | 6514192.1 | 225790.4 | Not Available | 6514193 | 137399.9993 | 20059.9998 | Not Available | 33 | 228.9 | 35966426.1 | 7.166% | 35686329.2 | 232.2 | 7.046% | Not Available | 14119.7 | 499591.05 | 3.18 | 50229.05 | 0.32 | 0 | 0 | 0 | 0 | 3726.1 | 729.8 | 2996.3 | 3726.1 | Texas | Region7 | AreaCRegion7
4567806 | CHRISTUS SANTA ROSA Hospital New Braunfels | Not Applicable: Standalone Property | 2017-12-31 | New Braunfels | 78130 | 1 | 1970 | 95 | Whole Building | Not Available | 197220 | AreaC | 132 | BedB | 1 | No | Not Available | Not Available | 5090367.4 | 705504.2 | Not Available | 5090368 | 326339.9956 | 24790.031 | Not Available | 67 | 253.5 | 50002335.1 | 8.902% | 50024234.4 | 252.6 | 8.644% | Not Available | 18235.5 | 494797.44 | 2.51 | 60904.93 | 0.31 | 0 | 0 | 0 | 0 | 4074.7 | 1733.3 | 2341.4 | 4074.7 | Texas | Region7 | AreaCRegion7
5037152 | Canyon Vista Medical Center | Not Applicable: Standalone Property | 2017-12-31 | Sierra Vista | 85635 | 1 | 2015 | 100 | Whole Building | Whole Building | 188000 | AreaC | 100 | BedB | 1 | No | Not Available | Not Available | 6229859.3 | 408020 | Not Available | 6229860 | 179490.0008 | 73579.9945 | Not Available | 78 | 208.5 | 39205282.6 | 18.25% | 39157068.3 | 206.4 | 19.09% | Not Available | Not Available | 818998.37 | 4.36 | Not Available | Not Available | 0 | 0 | 0 | 0 | 3917.7 | 953.4 | 2964.3 | 3917.7 | Arizona | Region9 | AreaCRegion9
3759857 | Camden Clark Medical Center | Not Applicable: Standalone Property | 2016-12-31 | Parkersburg | 26102 | 0 | 1970 | 100 | Whole Building | Not Available | 463939 | AreaD | 310.5 | BedC | 1 | No | Not Available | Not Available | 16237301.1 | 300013.7 | Not Available | 16237300 | 742744.959 | -23202.249 | Not Available | 14 | 279.5 | 129676174.1 | -1.01% | 129256604.2 | 283.3 | 11.63% | Not Available | Not Available | 1565942.03 | 3.38 | Not Available | Not Available | 0 | 0 | 0 | 0 | 13161.9 | 3945.1 | 9216.9 | 13161.9 | West Virginia | Region3 | AreaDRegion3
6331862 | CA-AHCL-15630 18th Avenue | Not Applicable: Standalone Property | 2017-12-31 | Clearlake | 95422 | 1 | 2014 | 100 | Whole Building | Whole Building | 53281 | AreaB | 25 | BedA | 1 | No | Not Available | Not Available | 2194461.8 | 142677.1 | Not Available | 2194462 | Not Available | #VALUE! | Not Available | 66 | 271.7 | 14475471 | 1.206% | 14475471.1 | 273.6 | 1.013% | Not Available | 3013 | 498235.88 | 9.35 | 19795.93 | 0.37 | 0 | 0 | 0 | 0 | 1028.5 | 501.1 | 527.4 | 1028.5 | California | Region9 | AreaBRegion9
5788159 | BHMC-HS | Not Applicable: Standalone Property | 2017-12-31 | Heber Springs | 72543 | 1 | 2007 | 100 | Whole Building | Not Available | 62986 | AreaB | 25 | BedA | 1 | No | Not Available | Not Available | 2401794.8 | 219919.8 | Not Available | 2401795 | 55720.0007 | 14670.0061 | Not Available | 73 | 218.6 | 13766925 | 13.87% | 13918885.6 | 222.5 | 12.61% | Not Available | Not Available | 222169.13 | 3.53 | Not Available | Not Available | 0 | 0 | 0 | 0 | 1213.4 | 296 | 917.4 | 1213.4 | Arkansas | Region7 | AreaBRegion7
18251 | Bethesda North Hospital | Not Applicable: Standalone Property | 2012-12-31 | Cincinnati | 45242 | 2 | 1969 | 100 | Whole Building | Not Available | 907635 | AreaE | 626.3 | BedD | 1 | No | Not Available | Not Available | 22356008.2 | 217287.4 | Not Available | 22356010 | 1248128.982 | 45903.277 | Not Available | 75 | 222.1 | 201588407.5 | 2.577% | 190387493.8 | 221.3 | 2.253% | Not Available | 46080.7 | 2322033 | 2.56 | 340113.03 | 0.37 | 0 | 0 | 0 | 0 | 19356.3 | 6666.3 | 12690 | 19356.3 | Ohio | Region5 | AreaERegion5
18251 | Bethesda North Hospital | Not Applicable: Standalone Property | 2011-12-31 | Cincinnati | 45242 | 2 | 1969 | 100 | Whole Building | Not Available | 907635 | AreaE | 626.3 | BedD | 1 | No | Not Available | Not Available | 22573295.6 | 723973.1 | Not Available | 22573300 | 1294032.259 | 63663.257 | Not Available | 72 | 228 | 206920119.8 | 4.096% | 195368953.7 | 226.4 | 2.833% | Not Available | 47876.8 | 2593061.06 | 2.86 | 321566 | 0.35 | 0 | 0 | 0 | 0 | 19723.5 | 6910.1 | 12813.4 | 19723.5 | Ohio | Region5 | AreaERegion5
18251 | Bethesda North Hospital | Not Applicable: Standalone Property | 2010-12-31 | Cincinnati | 45242 | 2 | 1969 | 100 | Whole Building | Not Available | 907635 | AreaE | 626.3 | BedD | 1 | No | Not Available | Not Available | 23297268.7 | 346271.6 | Not Available | 23297270 | 1357695.516 | -22233.363 | Not Available | 66 | 237.7 | 215756642 | -0.4465% | 202862911.5 | 233 | 1.688% | Not Available | 53500.7 | 3063562.96 | 3.38 | 330870 | 0.36 | 0 | 0 | 0 | 0 | 20472.6 | 7248.2 | 13224.3 | 20472.6 | Ohio | Region5 | AreaERegion5
18251 | Bethesda North Hospital | Not Applicable: Standalone Property | 2009-12-31 | Cincinnati | 45242 | 2 | 1969 | 100 | Whole Building | Not Available | 907635 | AreaE | 626.3 | BedD | 1 | No | Not Available | Not Available | 23643540.3 | 369550.2 | Not Available | 23643540 | 1335462.153 | -117733.528 | Not Available | 61 | 236.7 | 214797584.8 | -5.306% | 205929875.8 | 237 | -5.427% | Not Available | Not Available | 3384372.01 | 3.73 | Not Available | Not Available | 0 | 0 | 0 | 0 | 20557.2 | 7136.3 | 13420.9 | 20557.2 | Ohio | Region5 | AreaERegion5
3921779 | Barnesville Hospital | Not Applicable: Standalone Property | 2016-12-31 | Barnesville | 43713 | 1 | 1952 | 100 | Whole Building | Not Available | 70117 | AreaB | 25.27 | BedA | 1 | No | Not Available | Not Available | 1812172.7 | 172461.9 | Not Available | 1812173 | 33127.7275 | -883.1506 | Not Available | 100 | 135.4 | 9495906.7 | 5.003% | 9466014.5 | 141.8 | 29.35% | Not Available | Not Available | Not Available | Not Available | Not Available | Not Available | 0 | 0 | 0 | 0 | 1204.6 | 176 | 1028.7 | 1204.6 | Ohio | Region5 | AreaBRegion5
1507801 | Aurora St. Lukes South Shore | Not Applicable: Standalone Property | 2012-12-31 | Cudahy | 53110 | 1 | 1959 | 100 | Whole Building | Not Available | 363262 | AreaD | 248.8 | BedB | 1 | No | Not Available | Not Available | 7937504.6 | -367763.4 | Not Available | 7937506 | 466981.9641 | 55794.0081 | Not Available | 60 | 203.1 | 73780965.4 | 5.537% | 75050730.1 | 214.4 | 1.198% | Not Available | Not Available | Not Available | Not Available | Not Available | Not Available | 0 | 0 | 0 | 0 | 6986 | 2480.4 | 4505.6 | 6986 | Wisconsin | Region6 | AreaDRegion6
1229817 | Aurora Sinai Medical Center | Not Applicable: Standalone Property | 2017-12-31 | Milwaukee | 53233 | 5 | 1972 | 100 | Whole Building | Whole Building | 956244 | AreaE | 386 | BedC | 1 | No | Not Available | Not Available | 18349149.1 | 2361293.7 | Not Available | 18349150 | 47850.8345 | 23073.835 | Not Available | 89 | 144.7 | 138642833.6 | 14.03% | 139796627.8 | 147.1 | 13.37% | Not Available | Not Available | 2371435.48 | 2.47 | Not Available | Not Available | 0 | 0 | 0 | 0 | 15400.7 | 254.2 | 15146.5 | 15400.7 | Wisconsin | Region6 | AreaERegion6
1756414 | Aurora Sheboygan Memorial Medical Center | Not Applicable: Standalone Property | 2017-12-31 | Sheboygan | 53083 | 1 | 1972 | 100 | Whole Building | Whole Building | 285978 | AreaC | 185 | BedB | 1 | No | Not Available | Not Available | 6082044.4 | 176509.8 | Not Available | 6082045 | 373860.1458 | 52439.0503 | Not Available | 82 | 203.3 | 58137952.6 | 9.137% | 58564977.6 | 208 | 9.011% | Not Available | 13230.8 | 644423.27 | 2.25 | 57800.73 | 0.2 | 500000 | 50000 | 0 | 0 | 6618.3 | 1985.8 | 4632.6 | 6618.3 | Wisconsin | Region6 | AreaCRegion6
1756414 | Aurora Sheboygan Memorial Medical Center | Not Applicable: Standalone Property | 2012-12-31 | Sheboygan | 53083 | 1 | 1972 | 100 | Whole Building | Whole Building | 285978 | AreaC | 185 | BedB | 1 | No | Not Available | Not Available | 6397795.2 | 29489.1 | Not Available | 6397796 | 537286.023 | 64973.994 | Not Available | 45 | 264.2 | 75557882.2 | 8.031% | 76936965.8 | 264.7 | 7.641% | Not Available | Not Available | Not Available | Not Available | Not Available | Not Available | 500000 | 50000 | 0 | 0 | 7726.9 | 2853.8 | 4873.1 | 7726.9 | Wisconsin | Region6 | AreaCRegion6
1266379 | Aurora Medical Center- Oshkosh | Not Applicable: Standalone Property | 2010-12-31 | Oshkosh | 54904 | 1 | 2003 | 100 | Whole Building | Not Available | 474288 | AreaD | 84 | BedA | 1 | No | Not Available | Not Available | 10990244.4 | 257632.2 | Not Available | 10990250 | 513080.9623 | 59944.022 | Not Available | 67 | 188.3 | 89286495.7 | 6.876% | 89228960.7 | 192.9 | 4.125% | Not Available | 7809.9 | Not Available | Not Available | Not Available | Not Available | 0 | 0 | 0 | 0 | 11131.9 | 2760.8 | 8371.1 | 11131.9 | Wisconsin | Region6 | AreaDRegion6
2396333 | Aurora Medical Center Summit | Not Applicable: Standalone Property | 2017-12-31 | Summit | 53066 | 1 | 2009 | 100 | Whole Building | Not Available | 826320 | AreaE | 117 | BedB | 2 | 100% Yes | Not Available | Not Available | 13518302.7 | 861218.1 | Not Available | 13518300 | 701079.325 | 24599.037 | Not Available | 92 | 140.7 | 116232386.9 | 4.438% | 117400294.7 | 144.1 | 4.061% | Not Available | Not Available | Not Available | Not Available | Not Available | Not Available | 0 | 0 | 0 | 0 | 11397.2 | 3723.8 | 7673.5 | 11397.2 | Wisconsin | Region6 | AreaERegion6
4864726 | Aurora Medical Center - Summit | Not Applicable: Standalone Property | 2016-12-31 | Summit | 53066 | 1 | 2009 | 100 | Whole Building | Whole Building | 826320 | AreaE | 117 | BedB | 2 | 100% Yes | Not Available | Not Available | 14257431.4 | 36258.3 | Not Available | 14257430 | 726349.934 | 99601.05 | Not Available | 93 | 146.8 | 121281355.4 | 7.676% | 121281363.6 | 149.9 | 6.429% | Not Available | Not Available | Not Available | Not Available | Not Available | Not Available | 0 | 0 | 0 | 0 | 11951 | 3858 | 8093 | 11951 | Wisconsin | Region6 | AreaERegion6
4864726 | Aurora Medical Center - Summit | Not Applicable: Standalone Property | 2015-12-31 | Summit | 53066 | 1 | 2009 | 100 | Whole Building | Whole Building | 826320 | AreaE | 117 | BedB | 1.43 | 100% Yes | Not Available | Not Available | 14293689.7 | 944103.6 | Not Available | 14293690 | 825950.984 | 258576.077 | Not Available | 87 | 159 | 131365173.6 | 18.12% | 134495876.1 | 160.2 | 14.06% | Not Available | 17685 | Not Available | Not Available | 108639.99 | 0.13 | 0 | 0 | 0 | 0 | 12500.6 | 4387 | 8113.6 | 12500.6 | Wisconsin | Region6 | AreaERegion6
1432853 | Advocate Trinity Hospital | Not Applicable: Standalone Property | 2017-12-31 | Chicago | 60617 | 1 | 1960 | 100 | Whole Building | Whole Building | 367669 | AreaD | 205 | BedB | 1 | No | Not Available | Not Available | 9059394.3 | 587615.7 | Not Available | 9059395 | 538611.6534 | 40041.2448 | Not Available | 65 | 230.6 | 84771822.6 | 6.619% | 85342003.2 | 240.5 | 6.018% | Not Available | Not Available | 1252956.44 | 3.41 | Not Available | Not Available | 0 | 0 | 0 | 0 | 8003.3 | 2860.8 | 5142.4 | 8003.3 | Illinois | Region5 | AreaDRegion5
1432853 | Advocate Trinity Hospital | Not Applicable: Standalone Property | 2009-12-31 | Chicago | 60617 | 1 | 1960 | 100 | Whole Building | Whole Building | 367669 | AreaD | 254.7 | BedB | 1 | No | Not Available | Not Available | 10405497 | -758913.9 | Not Available | 10405500 | 645704.056 | 39206.944 | Not Available | 40 | 272.2 | 100073965.5 | 1.313% | 97307656.3 | 278.5 | 2.962% | Not Available | Not Available | Not Available | Not Available | Not Available | Not Available | 0 | 0 | 0 | 0 | 9336.2 | 3429.6 | 5906.5 | 9336.2 | Illinois | Region5 | AreaDRegion5
1432655 | Advocate Lutheran General Hospital | Not Applicable: Standalone Property | 2012-12-31 | Park Ridge | 60068 | 0 | 1959 | 100 | Whole Building | Whole Building | 1694182 | AreaF | 1087.2 | BedD | 2 | No | Not Available | Not Available | 56611167.2 | -1268198.1 | Not Available | 56611170 | 1995971.0073 | 131051.981 | Not Available | 41 | 219.6 | 392754426.7 | 2.186% | 399598926 | 227.7 | -1.245% | Not Available | Not Available | 5133746.3 | 2.87 | Not Available | Not Available | 17900 | 105492 | 0 | 0 | 42736 | 10601.6 | 32134.5 | 42736 | Illinois | Region5 | AreaFRegion5
1432655 | Advocate Lutheran General Hospital | Not Applicable: Standalone Property | 2011-12-31 | Park Ridge | 60068 | 0 | 1959 | 100 | Whole Building | Whole Building | 1694182 | AreaF | 1087.2 | BedD | 2 | No | Not Available | Not Available | 55342969.1 | 1394050.2 | Not Available | 55342980 | 2127022.9883 | -84726.4559 | Not Available | 38 | 224.5 | 401532532.4 | -0.9341% | 413819853.9 | 224.9 | -1.995% | Not Available | Not Available | Not Available | Not Available | Not Available | Not Available | 17900 | 105492 | 0 | 0 | 42712.2 | 11297.6 | 31414.6 | 42712.2 | Illinois | Region5 | AreaFRegion5
1252266 | Advocate Illinois Masonic Medical Center | Not Applicable: Standalone Property | 2017-12-31 | Chicago | 60657 | 15 | 1908 | 100 | Whole Building | Whole Building | 1335452 | AreaF | 397 | BedC | 2 | No | Not Available | Not Available | 21354143.2 | 1854609.8 | Not Available | 21354150 | 1166326.3663 | 74241.9376 | Not Available | 99 | 141.9 | 189492982.1 | 6.766% | 191387896.4 | 146.5 | 6.39% | Not Available | Not Available | Not Available | Not Available | Not Available | Not Available | 0 | 0 | 0 | 0 | 18316.3 | 6194.9 | 12121.4 | 18316.3 | Illinois | Region5 | AreaFRegion5
1252266 | Advocate Illinois Masonic Medical Center | Not Applicable: Standalone Property | 2015-12-31 | Chicago | 60657 | 15 | 1908 | 100 | Whole Building | Whole Building | 1288091.5 | AreaF | 397 | BedC | 2 | No | Not Available | Not Available | 22472284.7 | -354448.5 | Not Available | 22472290 | 1263560.5462 | -1822.1813 | Not Available | 96 | 157.6 | 203031499.2 | -0.6901% | 211324522.7 | 160.7 | 5.692% | Not Available | Not Available | Not Available | Not Available | Not Available | Not Available | 0 | 0 | 0 | 0 | 19467.4 | 6711.4 | 12756 | 19467.4 | Illinois | Region5 | AreaFRegion5
1252266 | Advocate Illinois Masonic Medical Center | Not Applicable: Standalone Property | 2012-12-31 | Chicago | 60657 | 15 | 1908 | 100 | Whole Building | Whole Building | 1143379 | AreaF | 397 | BedC | 2 | No | Not Available | Not Available | 20279683.4 | -457490.9 | Not Available | 20279690 | 1036791.0288 | 116067.005 | Not Available | 98 | 151.2 | 172873391.1 | 5.492% | 194497262.9 | 159.9 | 0.3738% | Not Available | Not Available | 2413824.28 | 2.11 | Not Available | Not Available | 0 | 0 | 0 | 0 | 17018.3 | 5506.9 | 11511.4 | 17018.3 | Illinois | Region5 | AreaFRegion5
1432627 | Advocate Good Shepherd Hospital | Not Applicable: Standalone Property | 2017-12-31 | Barrington | 60010 | 4 | 1979 | 100 | Whole Building | Whole Building | 681239 | AreaE | 323.4 | BedC | 1 | No | Not Available | Not Available | 18400892.5 | 14116.5 | Not Available | 18400890 | 1011233.165 | -61385.07 | Not Available | 28 | 240.6 | 163907169.4 | -3.859% | 165644248.1 | 244.4 | 6.824% | Not Available | Not Available | 2032603.42 | 2.98 | Not Available | Not Available | 0 | 0 | 0 | 0 | 15816.1 | 5371.1 | 10445 | 15816.1 | Illinois | Region5 | AreaERegion5
1432627 | Advocate Good Shepherd Hospital | Not Applicable: Standalone Property | 2016-12-31 | Barrington | 60010 | 4 | 1979 | 100 | Whole Building | Whole Building | 606308.2 | AreaE | 323.4 | BedC | 1 | No | Not Available | Not Available | 18415009 | -1233264.3 | Not Available | 18415010 | 949848.095 | -33719.594 | Not Available | 18 | 260.3 | 157816827.8 | -5.045% | 173469582.1 | 262.3 | 16.39% | Not Available | Not Available | 1986028.36 | 3.28 | Not Available | Not Available | 0 | 0 | 0 | 0 | 15498.1 | 5045.1 | 10453 | 15498.1 | Illinois | Region5 | AreaERegion5
1432627 | Advocate Good Shepherd Hospital | Not Applicable: Standalone Property | 2013-12-31 | Barrington | 60010 | 4 | 1979 | 100 | Whole Building | Whole Building | 479587 | AreaD | 323.4 | BedC | 1 | No | Not Available | Not Available | 16870280.8 | 381189.2 | Not Available | 16870280 | 900197.467 | 14634.516 | Not Available | 6 | 307.7 | 147581151.8 | 1.838% | 194905855.8 | 305.7 | 1.673% | Not Available | 28885.3 | 1553009.7 | 3.24 | Not Available | Not Available | 0 | 0 | 0 | 0 | 14357.5 | 4781.4 | 9576.2 | 14357.5 | Illinois | Region5 | AreaDRegion5
1432627 | Advocate Good Shepherd Hospital | Not Applicable: Standalone Property | 2009-12-31 | Barrington | 60010 | 4 | 1979 | 100 | Whole Building | Whole Building | 479587 | AreaD | 323.4 | BedC | 1 | No | Not Available | Not Available | 17885498.9 | 979934.4 | Not Available | 17885500 | 1029292.042 | 52419.998 | Not Available | 2 | 341.9 | 163954534 | 4.976% | 219752695.5 | 343.1 | 3.597% | Not Available | 40718.9 | Not Available | Not Available | Not Available | Not Available | 0 | 0 | 0 | 0 | 15619.5 | 5467.1 | 10152.4 | 15619.5 | Illinois | Region5 | AreaDRegion5
1432267 | Advocate Good Samaritan Hospital | Not Applicable: Standalone Property | 2017-12-31 | Downers Grove | 60515 | 1 | 1976 | 100 | Whole Building | Whole Building | 1033972.8 | AreaF | 678.3 | BedD | 2 | No | Not Available | Not Available | 24707391.6 | 921559.7 | Not Available | 24707390 | 1579678.424 | -98592.85 | Not Available | 59 | 234.3 | 242269472.7 | -2.851% | 248404690.3 | 237.4 | 7.011% | Not Available | Not Available | 2944431.42 | 2.85 | Not Available | Not Available | 0 | 0 | 0 | 0 | 22415.2 | 8390.4 | 14024.8 | 22415.2 | Illinois | Region5 | AreaFRegion5
1432267 | Advocate Good Samaritan Hospital | Not Applicable: Standalone Property | 2011-12-31 | Downers Grove | 60515 | 1 | 1976 | 100 | Whole Building | Whole Building | 931695 | AreaE | 678.3 | BedD | 2 | No | Not Available | Not Available | 25840511 | 1837084.9 | Not Available | 25840510 | 1440993.969 | -48657.984 | Not Available | 47 | 249.3 | 232267231.3 | 0.6001% | 254394848.4 | 248.8 | 0.4402% | Not Available | 32125.1 | 2929674 | 3.14 | 193908.91 | 0.21 | 0 | 0 | 0 | 0 | 22321.8 | 7653.8 | 14668 | 22321.8 | Illinois | Region5 | AreaERegion5
5155855 | Advocate Eureka Hospital | Not Applicable: Standalone Property | 2016-12-31 | Eureka | 61530 | 1 | 1978 | 100 | Whole Building | Not Available | 88750 | AreaB | 25 | BedA | 0 | No | Not Available | Not Available | 1722620.6 | -229395.8 | Not Available | 1722621 | 61291.1451 | -18320.8648 | Not Available | 91 | 135.3 | 12006696.6 | -27.84% | 11938282.6 | 137.9 | 13.32% | Not Available | Not Available | 165887.71 | 1.87 | Not Available | Not Available | 0 | 0 | 0 | 0 | 1593.2 | 325.5 | 1267.7 | 1593.2 | Illinois | Region5 | AreaBRegion5
1841784 | Advocate Condell Medical Center | Not Applicable: Standalone Property | 2011-12-31 | Libertyville | 60048 | 7 | 1927 | 100 | Whole Building | Whole Building | 749359 | AreaE | 514.7 | BedD | 1 | No | Not Available | Not Available | 21330343.1 | -1882730.7 | Not Available | 21330350 | 991542.8514 | -176390.6602 | Not Available | 42 | 229.4 | 171933424.6 | -16.27% | 176549655.3 | 230.9 | -4.622% | Not Available | 21664 | 2224818.19 | 2.97 | 167280.39 | 0.22 | 0 | 0 | 0 | 0 | 17374.4 | 5266.6 | 12107.8 | 17374.4 | Illinois | Region5 | AreaERegion5
1432600 | Advocate Christ Medical Center | Not Applicable: Standalone Property | 2016-12-31 | Oak Lawn | 60453 | 4 | 2000 | 100 | Whole Building | Whole Building | 1952709 | AreaF | 923.5 | BedD | 6 | No | Not Available | Not Available | 55455320.4 | -4196386.4 | Not Available | 55455330 | 2603355.34 | -136306.0764 | Not Available | 59 | 230.2 | 449549110.1 | -6.629% | 448175949.9 | 234.2 | 8.694% | Not Available | Not Available | 5906191.42 | 3.02 | Not Available | Not Available | 0 | 0 | 0 | 0 | 45306 | 13827.7 | 31478.4 | 45306 | Illinois | Region5 | AreaFRegion5
1432600 | Advocate Christ Medical Center | Not Applicable: Standalone Property | 2013-12-31 | Oak Lawn | 60453 | 4 | 2000 | 100 | Whole Building | Whole Building | 1338403 | AreaF | 923.5 | BedD | 4 | No | Not Available | Not Available | 44727419 | 1403727.3 | Not Available | 44727420 | 2015292.038 | -56858.059 | Not Available | 48 | 264.6 | 354139176 | -0.2537% | 474874099.8 | 263.2 | 4.186% | Not Available | 98132 | 3951610.02 | 2.95 | 611690.01 | 0.46 | 0 | 0 | 0 | 0 | 36093 | 10704.2 | 25388.8 | 36093 | Illinois | Region5 | AreaFRegion5
1432600 | Advocate Christ Medical Center | Not Applicable: Standalone Property | 2012-12-31 | Oak Lawn | 60453 | 4 | 2000 | 100 | Whole Building | Whole Building | 1315503.8 | AreaF | 923.5 | BedD | 4 | No | Not Available | Not Available | 46131146.3 | 20443.1 | Not Available | 46131150 | 1958433.979 | 259587.023 | Not Available | 41 | 268.5 | 353242888.2 | 6.863% | 471864664.4 | 274.7 | 5.21% | Not Available | Not Available | 4120287.24 | 3.13 | Not Available | Not Available | 0 | 0 | 0 | 0 | 36587.8 | 10402.2 | 26185.6 | 36587.8 | Illinois | Region5 | AreaFRegion5
2801928 | Advocate Bromenn Medical Center | Not Applicable: Standalone Property | 2012-12-31 | Normal | 61761 | 4 | 1966 | 100 | Whole Building | Whole Building | 530064.7 | AreaE | 406.5 | BedC | 1 | No | Not Available | Not Available | 17500413 | -1443781 | Not Available | 17500420 | 792351.966 | -174325.902 | Not Available | 17 | 262.1 | 138946613.2 | -19.18% | 146613419 | 260.8 | -0.2691% | Not Available | 18754.6 | 1454065.24 | 2.74 | Not Available | Not Available | 0 | 0 | 0 | 0 | 17087.2 | 4208.6 | 12878.7 | 17087.2 | Illinois | Region5 | AreaERegion5
2801928 | Advocate Bromenn Medical Center | Not Applicable: Standalone Property | 2011-12-31 | Normal | 61761 | 4 | 1966 | 100 | Whole Building | Whole Building | 446897 | AreaD | 406.5 | BedC | 1 | No | Not Available | Not Available | 16056632 | -349804.8 | Not Available | 16056630 | 618026.064 | 81933.924 | Not Available | 18 | 260.9 | 116587841.5 | 5.664% | 139465172.9 | 260.1 | 6.741% | Not Available | 23496.8 | 1437182.32 | 3.22 | Not Available | Not Available | 0 | 0 | 0 | 0 | 15098.8 | 3282.6 | 11816.2 | 15098.8 | Illinois | Region5 | AreaDRegion5
3762047 | 3901 Lone Tree Way | Not Applicable: Standalone Property | 2016-12-31 | Antioch | 94509 | 1 | 1967 | 100 | Whole Building | Not Available | 185700 | AreaC | 128.13 | BedB | 1 | No | Not Available | Not Available | 6970707.1 | 517441.6 | Not Available | 6970708 | 200774.9697 | 83038.3199 | Not Available | 32 | 236.2 | 43861552.4 | 18.67% | 43858163.6 | 236 | 18.73% | Not Available | Not Available | 1216605.86 | 6.55 | Not Available | Not Available | 0 | 0 | 0 | 0 | 2741.8 | 1066.4 | 1675.4 | 2741.8 | California | Region9 | AreaCRegion9